MASA Architectural Canopies

Corporate Address

250 Stelton Rd

Piscataway NJ 08854

800-761-7446

p. 732-453-6120

f. 732-453-6126

EXTRUDECK Canopy System

**General Notes to Specifier**

This master specification section has been prepared by MASA Architectural Canopies for use in the preparation of a product specification section covering pre-engineered canopies consisting of extruded aluminum framing, supports, and decking. Contact MASA for specifications to other products.

Optional text to be determined as necessary by the user is found within parentheses ( ) notation.

e.g.: (Section 09 000)

Sustainable requirements sections should be included for projects requiring LEED certification.

For additional information on LEED, visit the U.S. Green Building Council website at [www.usgbc.org](http://www.usgbc.org).

MASA has compiled and categorized its numerous color choices and accessories into an easy to select format located at [www.architecturalcanopies.com](http://www.architecturalcanopies.com) ….select Downloads and make your choice.

For assistance on the use of the products in this section, contact MASA’s product support team by calling 800-761-7446, by email at information@architecturalcanopies.com or visit their website at [www.architecturalcanopies.com](http://www.architecturalcanopies.com)

**SECTION 10 73 00**

**CANOPIES**

**PART 1 - GENERAL**

* 1. SUMMARY
		1. Section Includes:
			1. Building supported, pre-engineered metal canopies including fascia channels, decking, tension rods, and attachment hardware.
		2. Related Sections:
			1. Division 01: Administrative, procedural, and temporary work requirements.
			2. (Section 10 71 13.53 Exterior Sun Control/ Daylighting Devices)
	2. REFERENCES
		1. Aluminum Association (AA)DAF 45 - Designation System for Aluminum Finishes.
		2. American Architectural Manufacturers Association (AAMA)
			1. 2603 - Voluntary Specification, Performance Requirements and Test Procedures for Pigmented Organic Coatings on Architectural Extrusions and Panels.
		3. American Society of Civil Engineers (ASCE) 7 - Minimum Design Loads for Buildings and Other Structures.
		4. ASTM International (ASTM)
			1. B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.
			2. B429 - Standard Specification for Aluminum-Alloy Extruded Pipe and Tube.
			3. A36 Standard Mild Steel Specification
			4. A50/A53 Standards for Structural steel
	3. SYSTEM DESCRIPTION
		1. Design Requirements: Design canopy system to withstand:
			1. Standards for wind pressure, snow load, and drifting snow load in accordance with current adopted form of the Uniform Construction code or accepted requirements of local municipality.

* 1. SUBMITTALS
		1. Submittals for Review:
			1. Shop Drawings: Indicate system components, dimensions, attachments, and accessories.
			2. Samples:
				1. 3 x 3 inch coating samples in specified color.
				2. 6 inch long fascia profile sample showing profile and standard finish.
				3. 6 inch decking samples showing profile and standard finish.
		2. (LEED Project Submittals)
			1. Product Data for Credit MR 4: documentation indicating percentages by weight of

post consumer and pre consumer recycled content. Include statement indicating cost for each product having recycled content.

* + - 1. Product Data for Credit MR 5: Indicate location of product manufacturer, distance from manufacturer to project site, and mill test report for origination of materials.
	1. QUALITY ASSURANCE
		1. Installer Qualifications: Minimum 5 years’ experience in installation of MASA products.
			1. (Mockup: Provide mockup of canopy system including all framing members, supports, decking, hanger rods, and attachments at location selected by architect.)

# PART 2 - PRODUCTS

* 1. MANUFACTURER
		1. Contract Documents are based on: Imagination Series

By: MASA Architectural Canopies

 25o Stelton Road.

Piscataway NJ 08854

800-761-7446

[www.architecturalcanopies.com.](http://www.architecturalcanopies.com/)

* + 1. Acceptable alternates:

Other manufacturers may bid only after written approval of the architect, obtained 10 days prior to bid opening and issued by addendum. Interested manufacturers must furnish full details of proposed product, engineering calculations on all sections involved, physical samples of all shapes and finishes, a list of installations similar in size and design, and must have a minimum of five years’ experience in manufacturing and installing glazed canopy systems.

* 1. MATERIALS
		1. Aluminum Extrusions:
			1. ASTM B221& ASTM B429 6063-T5 alloy and temper.
		2. Hardware:
			1. All fasteners shall be (stainless steel) or (zinc coated) for corrosion resistance.
	2. COMPONENTS
		1. Framing:
			1. Type: (Extruded aluminum) (Mild/Structural steel A36 and A500)
			2. Size: 8” x .125”
		2. Canopy Supports: Post mount
		3. Decking: 3” x 6” x .090” Interlocking Extruded aluminum flat soffit decking (as selected from MASA decking options)
		4. Attachment; As required to meet final conditions
		5. Custom Fascia Profiles: (4” Crown) (3” Crown) (8” Industrial) (12” Industrial)
		6. Other Components: other components as indicated or as required for system attachment and performance.
	3. ACCESSORIES
		1. Obscurity Screen Top Enclosure System with .090 aluminum flanged frame, Ferrari cover Soltis 86 (selected by architect from MASA color choices)
		2. Lighting (Recessed) (Surface Mount) Type with welded light dams (selected by architect from MASA Lighting choices)
		3. Down spouts (2x3),(3x3),(4x4), (.125 Heavy Extruded) Finished to match canopy color.
	4. FABRICATION

A. Fabricate canopy system in accordance with approved Shop Drawings.

B. Canopies to be pre-assembled and welded by MASA approved personnel.

 Where pre-assembled canopies are too large for transport mechanical field assembly will

 be accepted.

C. Drainage system to be (360 degree concealed type.)(Open/Natural runoff NO capture)(Open natural with capture) Covered surfaces direct water to field drilled drain, to be coordinated at site.

 2.6 FINISHES (select appropriate finish) (powder coat finish)

* + 1. Aluminum:

A.1 Pre- Treatment: Pre-treat to ASTM D1730 type B, Method 5 using a multi stage chromate

 process or an approved chrome- free pretreatment process approved by

 powder coat manufacturer for optimized weather resistance.

* + - 1. Type AAMA 2603 Thermosetting Polyester Resin-based Powder
			2. Source: Tiger Drylac powder coating or equivalent.
			3. Color: (color) to be selected by architect from MASA’s standard 5 colors

 Aluminum or Steel

 1. AAMA 2605, Fluoropolymer coating containing minimum 70% PVDF resins

 2. Source: Duranar by PPG Industries, Inc.

 3. Color: (color) to be selected by architect from MASA’s full color range

# PART 3 - EXECUTION

* 1. FIELD DIMENSIONS
		1. Field verify dimensions of supporting structure at site of installation prior to fabrication.
	2. INSTALLATION
		1. Install in accordance with manufacturer's instructions and approved Shop Drawings.
		2. Install components plumb and level, in proper plane, free from warp and twist.
		3. Anchor system to building components; provide adequate clearance for movement caused by thermal expansion and contraction and wind loads.
	3. ADJUSTING
		1. Touch up minor scratches and abrasions on finished surfaces to match original finish.
		2. Clean with mild, non-abrasive solution and a cotton cloth under low pressure.

END OF SECTION